## USER GUIDE - EO
EDM Emergency Overflow Annual Return: Quick User Guide
!! See separate User Guide in Word format for further detail !!
General Guidance:
- The EDM annual return 2021 should include data for all Emergency Overflows with an existing regulatory EDM permit condition. EOs with non-regulatory EDM data may be included at WaSC discretion
- Reported spill data (count & duration) should be considered reliable, verified and an accurate representation of the spills that occurred during the reporting period. Data that is known to be erroneous should not be reported on. See main User Guide (Word document) for more information and examples.
- Base information (e.g. EA permit reference, site name, Outlet NGR etc.) on overflows must directly match the Environment Agency (EA) Consents Database (see "Resources" below).
- Where EDM reporting operability is <90% (Column Q) subsequent columns Primary Reason (Column R) and Action Taken / Planned (Column S) must be completed.
- A number of columns are "do once"; the data are not expected to change year on year. These headings are highlighted in grey below. Data in remaining columns are expected to change each year. These headings are highlighted in light green below.
- Water Framework Directive (WFD) data in columns I & J can be post-populated by the EA using the Outlet NGR provided by WaSCs (column H) on receipt of the WaSC final submission of EO Annual Return
Resources:
- Environment Agency national Consents Database: |  | Consented Discharges to Controlled Waters with Conditions - data.gov.uk
(Note the EA Consents Database is updated quarterly on .gov.uk)
- Environment Agency Risk-Based Approach to the Monitoring of Storm Discharges (September 2013)
- Environment Agency Storm Overflow Assessment Framework (June 2018): |  |  | Storm Overflow Assessment Framework
Guide to columns & drop-down selection:
Water Company Name | (Column A)
Site Name (EA Consents Database) | (Column B)
- Site name that matches exactly with column "Discharge_Site_Name" on EA consents database
Site Name (WaSC Operational Name) | (Column C)
- Site name used by the WaSC for operational reasons. The EA Consents Database Site Name must be provided in column B - the WaSC site name is not a substitute
- Column C is optional
EA Consents Database Permit Reference | (Column D)
- As shown in column "Permit Number" on EA Consents Database. NB: this may occassionally differ from number shown on actual permit or WaSC URN/folio
WaSC Supplementary Permit Ref. | (Column E)
- WaSC reference number for permitted overflow. The EA Consents Database permit reference must be provided in column D - the WaSC permit reference is not a substitute
- Column E is optional
Activity reference | (Column F)
- Listed on new format permits under Schedule 1 – “Operations” (e.g. A1 / A2 etc.)
- Listed on old format permits under Schedule conditions (e.g. Schedule No. A.115K/00-01)
- NB: This is not the same as columns “DISCHARGE_SITE_TYPE_CODE” or “DSI_TYPE_DESCRIPTION” on EA consents database
Storm discharge asset type | (Column G)
- Must be "Emergency Overflow" as standard for this Emergency Overflow data return.
Outlet discharge NGR (Consents Database) | (Column H)
- This is the actual discharge point to the environment.
- Listed on EA consents database as “OUTLET_GRID_REF”. This is the reference to use
- Also listed on new format permits under Schedule 3 - "Discharge Point NGR"
- Also listed on old format permits under "Place of Discharge"
- NB: This is not the same as columns “DISCHARGE_NGR” (discarhge site NGR) or “EFFLUENT_GRID_REF” (effluent monitoring NGR) on EA consents database
WFD Waterbody ID (Cycle 2) | (Column I)
- Identification number of WFD waterbody at the discharge point (as per Cycle 2)
- Prefixed with "GB…"
- Can be post-populated by the Environment Agency on receipt of the WaSC final submission of EO Annual Return
WFD Waterbody Catchment Name (Cycle 2) | (Column J)
- Name of WFD waterbody catchment at the discharge point (as per Cycle 2)
- NB: This is not the same as "CATC_NAME" on EA consents database
- Can be post-populated by the Environment Agency on receipt of the WaSC final submission of EO Annual Return
Receiving Water / Environment - common name (Consents Database) | (Column K)
- Listed on EA consents database under "RECEIVING_WATER" NB: this may differ from receiving water shown on actual permit
- Also listed on new format permits under Schedule 3 - "Discharge Point"
- Also listed on old format permits under "Place of Discharge"
Shellfishery | (Column L)
- Populate for storm overflows that have Shellfish Water EDM requirements
Bathing Beach | (Column M)
- Populate for storm overflows that have Bathing Water EDM requirements
Initial EDM commission date | (Column N)
- Date EDM commissioned; the date data can be expected from the EDM
- See the more detailed User Guide (Word format) for more detailed table of definitions (page 7)
- Note: Installation date may precede commissioned date
Drop-down options Column M:
Installed but not yet commissioned | Installed in current reporting year but data not yet expected
Commissioned in 2020 - full year data expected | Installed in previous reporting year
Commissioned in 2019 - full year data expected | Installed in previous reporting year
Commissioned in 2018 - full year data expected | Installed in previous reporting year
Commissioned in 2017 - full year data expected | Installed in previous reporting year
Commissioned in 2016 - full year data expected | Installed in previous reporting year
Commissioned pre-2016 - full year data expected | Installed in previous reporting year
Jan 2021
Feb 2021
Mar 2021
April 2021
May 2021
June 2021
July 2021
August 2021
September 2021
October 2021
November 2021
December 2021
EDM to be installed by December 2023 | EDM not yet installed
Total Duration (hr) of all spills | (Column O)
- Total spill duration prior to processing through the 12-24h count method
Counted spills using 12-24h count method | (Column P)
- Spill count post-processed through the 12-24h count method
EDM Operation - % reporting period EDM operational | (Column Q)
- Based on Initial Commissioning Date (Column M) e.g. commissioned in July of reporting year then period Jul-Dec would be 100%; if commissioned in previous reporting year then period Jan-Dec would be 100%
- e.g. commissioned in September of reporting year then 100% reporting period would be Sep.-Dec.
- e.g. commissioned in any previous reporting year then 100% reporting period would be Jan.-Dec.
- See the more detailed User Guide (Word format) for further information & examples
EDM Operation - Reporting % - Primary Reason <90% | (Column R)
- Core reason why EDM may not have been operational <90% of period (Column Q)
- Select primary reason only
- Category must be selected when period of EDM operation (Column Q) is less than 90%. Optional to complete this column when period of EDM operation is 90% or over
- See the more detailed User Guide (Word format) for table of definitions (page 8)
Drop-down options Column R:
Access - Unable to retrieve data from non-telemetry data logger (NB: not to be used for delayed access to fix existing fault) | When access causes inability to retrieve data; e.g. landowner permission. Consider core reason – if caused by poor installation or design then select “Installation set-up/design issue” category instead. Not to be used for delayed access t fix existing operational fault
Capital / maintenance works affect EDM operation | Where planned works affect EDM operation. Consider core reason – if caused by poor installation or design then select “Installation set-up/design issue” category instead
Comms failure / issue | Any part of communication failure; e.g. intermittent signal or antenna damage. Consider core reason – if caused by poor installation or design then select “Installation set-up/design issue” category instead. Similar if comms loss caused by power failure – select “Power failure / issue” instead
EDM not yet installed | E.g. not yet scheduled for installation, or installation not currently feasible
EDM installed - not yet commissioned | E.g. installed after reporting period. E.g. installed within reporting period but data not yet calibrated
Installation set-up/design issue | When installation or design (e.g. choice of location) affects EDM operability. E.g. Original design location cannot distinguish between two overflows & original EDM needs to be relocated to more representative point. E.g. Original design location affected by river ingress & EDM requires relocation. E.g. Alternative monitor type required
Power failure / issue | Any part of power failure; e.g. loss of mains supply / battery fault. Consider core reason – if caused by cutting through cable then select “Capital / maintenance works” category instead
Sensor failure / issue | Any part of sensor failure; e.g. water ingress to connection between sensor & logger. Consider core reason – if water ingress caused by poor choice of location for installation & requires adjustment then select “Installation set-up/design issue” category instead
Telemetry or data archiving failure / issue | Any part of telemetry failure; e.g. dial-in or storage/sending of data problems. Consider core reason – if archiving problem caused by power fault or incorrect installation then use “Power failure / issue” or ”Installation set-up/design issue” categories respectively. Similar if data transfer caused by intermittent signal – select “Comms failure / issue” instead
No longer operational as an overflow - permit revoked or to be revoked
Reporting % - Action taken / planned - Status & Timeframe | (Column S)
- Indicate whether action has already been taken / is planned to be taken, or whether there is an ongoing investigation to identify the appropriate action
- Which month this activity was completed / is planned
- See the more detailed User Guide (Word format) for table of definitions (page 10)
Drop-down options Column R:
Scheduled | Appropriate operational action to address <90% EDM operation is planned
Resolved - January | Appropriate operational action has already been taken & issue affecting EDM operation resolved
Resolved - Feburary | As above
Resolved - March | As above
Resolved - April | As above
Resolved - May | As above
Resolved - June | As above
Resolved - July | As above
Resolved - August | As above
Resolved - September | As above
Resolved - October | As above
Resolved - November | As above
Resolved - December | As above
N/A - Ongoing investigation | Appropriate action not yet identified
N/A - EDM to be installed by December 2023 | Use when selection in Column R is “EDM not yet installed”

## Emergency Overflows
EDM EMERGENCY OVERFLOW REGULATORY ANNUAL RETURN
Please send to email inbox: askED@environment-agency.gov.uk
Please name file using the following convention: "EDM Return WaSC period.xls" .
For example if Severn Trent Water had a bathing water return for 2021 it would be "EDM Return Severn Trent Water Bathing Season 2021.xls"
For example if Wessex Water had a storm overflow annual return for 2021 it would be "EDM Return Wessex Water Storm Overflow Annual 2021.xls"
For example if Southern Water had an emergency overflow annual return for 2021 it would be "EDM Return Southern Water Emergency Overflow Annual 2021.xls"
Red text - Requires attention (e.g. permit number not found on Consents Database)
Blue text = data populated by EA (using WaSC information provided Nov 2021 or Jan 2022)
Pink text - amended by EA - please review (e.g. reference amended to match Consents Database)
Cell is missing data - to be completed by WaSC
No fill column heading = original column on previous EDM annual returns | [16 empty] | Complete columns R & S when data in column Q is <90%
Blue / yellow fill column heading = additional column for 2021 onwards
Water Company Name | Site Name (EA Consents Database) | Site Name (WaSC operational) [optional] | EA Permit Reference (EA Consents Database) | WaSC Supplementary Permit Ref. [optional] | Activity Reference on permit (if >1 discharge on permit) | Storm discharge asset type (will be "Emergency Overflow" as standard) | Outlet Discharge NGR (EA Consents Database) | WFD Waterbody ID (Cycle 2) (discharge outlet) | WFD Waterbody Catchment Name (Cycle 2) (discharge outlet) | Receiving Water / Environment (common name) (EA Consents Database) | Shellfish Water (only populate for storm overflow with a Shellfish Water EDM requirement) | Bathing Water (only populate for storm overflow with a Bathing Water EDM requirement) | Initial EDM Commission Date | Total Duration (hours) of all spills prior to processing through 12-24 hour counting method | Counted spills using 12-24hr counting method | EDM Operation - % of reporting period EDM operational | EDM Operation - Reporting percentage - Primary Reason <90% | EDM Operation - Action taken / planned - Status & Timeframe
Dwr Cymru Welsh Water |  | BODENHAM MILLCROFT | #N/A | Unpermitted-73341 |  | Emergency Overflow | SO5419651096 | GB109055036790 | Lugg - conf R Arrow to conf R Wye | TRIBUTARY OF RIVER LUGG |  |  | Commissioned in 2019 - full year data expected | 0 | 0 | 99.91
Dwr Cymru Welsh Water |  | BODENHAM MOOR | #N/A | Unpermitted-73340 |  | Emergency Overflow | SO5446750317 | GB109055036740 | Bodenham Bk - source to conf R Lugg | TRIBUTARY OF RIVER LUGG |  |  | Commissioned in 2019 - full year data expected | 1535.75 | 84 | 99.99
Dwr Cymru Welsh Water | PLOUGH LANE EAST PUMPING STATION |  | CM0185401 | CM0185401 |  | Emergency Overflow | SJ4599165228 | GB112068060280 | Gowy and tribs (Source to Milton Brook) | DITCH |  |  | Commissioned in 2017 - full year data expected | 16.25 | 4 | 99.99
Dwr Cymru Welsh Water | GREAT HOUGHBROOK PS ADJACENT TO FOR |  | AN0379401 | AN0379401 |  | Emergency Overflow | SO5957016879 | GB109055037111 | Wye - conf Walford Bk to Bigsweir Br | RIVER WYE |  |  | Commissioned in 2017 - full year data expected | 48.25 | 10 | 71.15 | Comms failure / issue | N/A - Ongoing investigation
Dwr Cymru Welsh Water | LEYMANS FIELD PS BRAEMAR GARDEN |  | AN0270801 | AN0270801 |  | Emergency Overflow | SO53533888 | GB109055037113 | Wye - Bredwardine Br to Hampton Bishop | RIVER WYE |  |  | Commissioned in 2018 - full year data expected | 19.5 | 8 | 99.92
Dwr Cymru Welsh Water | MALPAS SUNNYSIDE PS |  | CM0191301 | CM0191301 |  | Emergency Overflow | SJ4746646666 | GB111067052120 | Aldford Brook | UNNAMED WATERCOURSE |  |  | Commissioned in 2019 - full year data expected | 248.25 | 25 | 99.88
Dwr Cymru Welsh Water | MUCH DEWCHURCH NEW STW OS PARCEL 24 |  | AN0231302 | AN0231302 |  | Emergency Overflow | SO4830031320 | GB109055036840 | Worm Bk - source to confl R Dore | WORM BROOK |  |  | Commissioned in 2018 - full year data expected | 198 | 18 | 99.94
Dwr Cymru Welsh Water | PARKGATE ROAD PUMPING STATION, CHESTER |  | CG0317601 | CG0317601 |  | Emergency Overflow | SJ3947068540 | GB111067056930 | Finchetts Gutter | HIGHFIELD DRAIN |  |  | Commissioned in 2019 - full year data expected | 245.25 | 44 | 99.81
Dwr Cymru Welsh Water | Longtown STW PS |  | AN0121901 | AN0121901 |  | Emergency Overflow | SO3270328105 | GB109055036820 | Olchon Bk - source to conf R Monnow | OLCHON BROOK |  |  | Commissioned in 2020 - full year data expected | 80.25 | 8 | 99.93
Dwr Cymru Welsh Water |  | LUSTON VILLAGE | #N/A | Unpermitted-33630 |  | Emergency Overflow | SO4865563374 | GB109055042000 | Ridgemoor Bk - source to conf R Lugg | TRIBUTARY OF RIDGEMOOR BROOK |  |  | Commissioned in 2019 - full year data expected | 1.5 | 1 | 99.99
Dwr Cymru Welsh Water |  | Yarpole SPS | #N/A | Unpermitted-73026 |  | Emergency Overflow | SO4715564729 | GB109055042000 | Ridgemoor Bk - source to conf R Lugg | Unnamed drain |  |  | Commissioned in 2020 - full year data expected | 213 | 26 | 99.68
Dwr Cymru Welsh Water |  | Lyonshall WwTW Storm | #N/A | Unpermitted-74961 |  | Emergency Overflow | SO3425755752 | GB109055041820 | Curl Bk - source to conf R Arrow | Curl Brook |  |  | Commissioned in 2020 - full year data expected | 31.75 | 18 | 99.52
Dwr Cymru Welsh Water |  | Kingsland WwTW CSO | #N/A | Unpermitted-33606 |  | Emergency Overflow | SO 45380 60530 | GB109055041940 | Pinsley Bk - source to conf R Lugg | PINSLEY BROOK |  |  | Commissioned in 2020 - full year data expected | 2136.25 | 109 | 99.99

## Drop Downs - EO
Storm discharge asset type | Initial EDM Commission Date | EDM Operation - Reporting percentage - Primary Reason <90% | EDM Operation - Action taken / planned - Status & Timeframe
Emergency Overflow | Installed but not yet commissioned | Access - Unable to retrieve data from non-telemetry data logger (NB: not to be used for delayed access to fix existing fault) | Scheduled
| Commissioned in 2020 - full year data expected | Capital / maintenance works affect EDM operation | Resolved - January
| Commissioned in 2019 - full year data expected | Comms failure / issue | Resolved - Feburary
| Commissioned in 2018 - full year data expected | EDM not yet installed | Resolved - March
| Commissioned in 2017 - full year data expected | EDM installed - not yet commissioned | Resolved - April
| Commissioned in 2016 - full year data expected | Installation set-up/design issue | Resolved - May
| Commissioned pre-2016 - full year data expected | Power failure / issue | Resolved - June
| Jan 2021 | Sensor failure / issue | Resolved - July
| Feb 2021 | Telemetry or data archiving failure / issue | Resolved - August
| Mar 2021 | No longer operational as an overflow - permit revoked or to be revoked | Resolved - September
| April 2021 |  | Resolved - October
| May 2021 |  | Resolved - November
| June 2021 |  | Resolved - December
| July 2021 |  | N/A - Ongoing investigation
| August 2021 |  | N/A - EDM to be installed by December 2023
September 2021
October 2021
November 2021
December 2021
EDM to be installed by December 2023